EdgeHub-Based Closed-Loop Temperature Control System

(на оптическом носителе CD)

БрГТУ. 41297 - 05 12 00

## Листов 4

## Объем 2194 кБайт

| ### Заведующий кафедрой | ### С.С. Дереченник |
| --- | --- |
| ### Руководитель | V.S.Razumeichik |
| ### Выполнил | Wang Gen |
| ### Нормоконтроль | ##### С.С. Дереченник |

2026

Abstract

EdgeHub-Based Closed-Loop Temperature Control System is a software and hardware prototype for automatic temperature stabilization in an edge-control environment. The program combines an ESP32-based edge node, MQTT telemetry exchange, a Java Data Hub, and a web HMI into one closed-loop monitoring and control solution. The edge node reads temperature from a digital sensor, filters the measured signal, executes a PI control algorithm, and drives a PWM heater output to keep the process close to the configured set point. It also publishes telemetry and receives safe runtime parameter updates without stopping the control process. The Data Hub provides reliable message exchange between the field device and the upper software layers. It subscribes to telemetry, parameter, acknowledgement, status, and alarm topics, validates message formats, tracks device state, applies bounded backpressure, and stores normalized events in TDengine or local archive files. The HMI provides operator-oriented supervision through a FastAPI backend and a React interface. It displays live temperature, heater output, control mode, connection state, historical charts, alarms, and parameter forms. Operators can review current behavior, adjust safe control parameters, send commands to the edge node, and confirm whether the device accepted the requested settings. A separate AI-assisted tuning workflow analyzes recent telemetry, prepares a PID recommendation, checks safety limits, publishes selected values, waits for acknowledgement, and compares post-apply behavior with the predicted result. The main functions of the program are temperature acquisition, closed-loop control, telemetry publishing, command handling, event storage, visualization, alarm monitoring, historical review, and assisted controller tuning. The software is suitable for demonstrating the complete path from sensor measurement to actuator response and from raw telemetry to operator decisions while keeping each component replaceable for future development, testing, and integration with industrial monitoring services.

Content

edge-firmware/ - directory with ESP32 firmware source code;
  src/sketch.ino - code file with the firmware entry point;
  src/app/edge_app.cpp - code file with edge application workflow;
  src/app/runtime_config_store.cpp - code file for runtime parameter storage;
  src/controller/pi_controller.cpp - code file with PI temperature control;
  src/comms/mqtt/mqtt_gateway.cpp - code file with MQTT connection logic;
  src/comms/mqtt/telemetry_builder.cpp - code file for telemetry payloads;
  src/comms/mqtt/param_update_handler.cpp - code file for remote parameter updates;
  src/hardware/wokwi/ds18b20_sensor.cpp - code file for simulated temperature input;
  src/hardware/wokwi/pwm_heater.cpp - code file for simulated PWM heater output;
data-hub/ - directory with Java data-ingestion source code;
  src/main/java/com/edgehub/datahub/DataHubApplication.java - code file with service startup;
  src/main/java/com/edgehub/datahub/mqtt/ReactiveMqttConsumer.java - code file for MQTT subscription;
  src/main/java/com/edgehub/datahub/parser/HubMessageParser.java - code file for topic and payload parsing;
  src/main/java/com/edgehub/datahub/pipeline/MqttConsumePipeline.java - code file for message processing;
  src/main/java/com/edgehub/datahub/pipeline/DeviceStatusTracker.java - code file for device state tracking;
  src/main/java/com/edgehub/datahub/storage/TdengineRestWriter.java - code file for TDengine writes;
hmi/backend/ - directory with FastAPI backend source code;
  app/main.py - code file with API application startup;
  app/api/routes/devices.py - code file for device API endpoints;
  app/api/routes/history.py - code file for telemetry history endpoints;
  app/services/mqtt_publisher.py - code file for MQTT command publishing;
  app/services/ai/recommendation_service.py - code file for AI recommendation logic;
hmi/frontend/ - directory with React HMI source code;
  src/main.tsx - code file with frontend application startup;
  src/pages/overview-page.tsx - code file for the monitoring overview screen;
  src/pages/device-detail-page.tsx - code file for device details and control;
  src/pages/ai-page.tsx - code file for AI tuning and preview;
  src/lib/api.ts - code file with the REST API client.

EDGEHUB-BASED CLOSED-LOOP TEMPERATURE CONTROL SYSTEM

БрГТУ.41297 - 05 12 00

EDGEHUB-BASED CLOSED-LOOP TEMPERATURE CONTROL SYSTEM

БрГТУ.41297 - 05 12 00

EDGEHUB-BASED CLOSED-LOOP TEMPERATURE CONTROL SYSTEM

БрГТУ.41297 - 05 12 00

EDGEHUB-BASED CLOSED-LOOP TEMPERATURE CONTROL SYSTEM

БрГТУ.41297 - 05 12 00